Consumer Confidence Report

Town of Seabrook Water System

2013

What is a Consumer Confidence Report?

The Consumer

Confidence Report (CCR) details the

quality of your

drinking water, where it comes from, and where you can get more information.  This annual report documents all

detected primary and secondary drinking water parameters, and compares them to their respective standards known as Maximum Contaminant

Levels (MCLs).

The sources of drinking water (both tap

water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally

occurring minerals and, in some cases,

radioactive material, and can pick up

substances resulting from the presence of

animals or from human activity.

Contaminants that may be present in source water include:

Microbial contaminants, such as viruses and bacteria, which may come from sewage

treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic contaminants, such as salts and metals, which can be naturally occurring or

result from urban storm water runoff,

industrial or domestic wastewater discharges, oil and gas production, mining or farming.

Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and

petroleum production, and can also come from gas stations, urban storm water runoff, and

septic systems.

Radioactive contaminants, which can be

naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  The US Food and Drug Administration (FDA) regulations

establish limits for contaminants in bottled

water which must provide the same protection for public health.

What is the source of my drinking water?

The Seabrook water system is supplied by groundwater from five gravel-packed wells and seven rock wells located in the western part of town.  These wells supplied approximately 318 million gallons of water to the Town in 2012.  The gravel-packed wells range from 50 to 125 feet deep.  The rock wells are 500 feet deep.

The gravel-packed wells are chlorinated with sodium hypochlorite or calcium hypochlorite.  Some wells with high iron and manganese are treated with polyphosphate to reduce plumbing fixture staining.

The Water Treatment Facility (WTF) utilizes

filtration to reduce arsenic, radon, iron and manganese concentrations to levels below regulatory limits.   Raw water extracted from the Town’s seven rock wells is pumped to the WTF and is treated with sulfuric acid which

decreases the pH for optimum iron, manganese and arsenic removal.  Sodium hypochlorite promotes oxidation of iron, manganese and

arsenic.  Ferric chloride absorbs oxidized

arsenic.  After water passes through the

pressure filters, the filtered water flows through two aeration units to remove radon.  After aeration, sodium hypochlorite can be added to the water for disinfection.  The clearwell, a concrete basin located below the

facility, stores the finished water until delivery to the water system.   At this point, operators can add potassium hydroxide for final pH

adjustment and to provide corrosion control for customer plumbing, if necessary.

Why are contaminants in my water? Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of

contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water

Hotline at 1-800-426-4791.

Do I need to take special precautions? Some people may be more vulnerable to

contaminants in drinking water than the

general population. Immuno-compromised

persons such as persons with cancer

undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on

appropriate means to lessen the risk of

infection by Cryptosporidium and other

microbial contaminants are available from the Safe Drinking Water Hotline at 1-800-426-4791.

Source Water Assessment Summary

DES prepared drinking water source

assessment reports for all public water systems between 2000 and 2003 in an effort to assess the vulnerability of each of the state’s public water supply sources. Included in the report is a map of each source water protection area, a list of potential and known contamination sources, and a summary of available protection options.   The assessment for the wells in

Seabrook was prepared on June 13, 2000

except for GPW #7 which was prepared on June 10, 2005.  These results are noted below.

| Source Assessment Information |
| --- |
| Source | Susceptibility Factors |
| Name | Low | Med | High |
| GPW #1 | 4 | 5 | 3 |
| GPW #2 | 5 | 4 | 3 |
| GPW #3 | 3 | 6 | 3 |
| GPW #4 | 4 | 5 | 3 |
| GPW #7 | 6 | 4 | 2 |
| RW #1 | 4 | 4 | 4 |
| RW #2 | 4 | 4 | 4 |
| RW #3 | 5 | 4 | 3 |
| RW #4 | 5 | 5 | 2 |
| RW #5 | 5 | 5 | 2 |

GPW – Gravel-packed well;  RW – Rock wells

Note: This information is several years old and includes information that was current at the time the report was completed.   Therefore, some of the ratings might be different if

updated to reflect current information.   At the present time, DES has no plans to update this data.

The complete Assessment Report is available for review at the Water Department office.   For more information, call Primary Operator, George Eaton, at (603) 474-9921 or visit the DES Drinking Water Source Assessment

website at: http://des.nh.gov/organization/divisions/   water/dwgb/dwspp/dwsap.htm.

How can I get involved?

We encourage public interest and participation in our community’s decisions affecting drinking water.  The Primary Operator is available

during normal business hours at the Seabrook Water Department Office, 550 Route 107 or by calling (603) 474-9921.  Also, the Town

Manager and Selectmen can be contacted at (603) 474-3311, if additional information is

required.  The Board of Selectmen/Water Commissioners meets every other Wednesday.

Violations and Other Information:

No known violations.

Definitions of Table Terms and

Abbreviations

The definitions below are terms used in the

Detected Water Quality Results Table.

Action Level or AL: The concentration of a

contaminant which, if exceeded, triggers

treatment or other requirements which a water system must follow.

Maximum Contaminant Level or MCL: The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal or MCLG: The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level or MRDL: The highest level of a disinfectant

allowed in drinking water.  There is convincing evidence that addition of a disinfectant is

necessary for control of microbial

contaminants.

Maximum Residual Disinfectant Level Goal or MRDLG: The level of a drinking water

disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to

control microbial contaminants.

Abbreviations

ND: Not Detectable at testing limits

NA: Not Applicable

pCi/L: picocuries per liter

ppb: parts per billion

ppm: parts per million

TTHM: Total Trihalomethanes

HAA5s: Haloacetic Acids

Sampling Results:  The results for detected contaminants listed in the table are from the most recent monitoring done in compliance with regulations ending with calendar year 2012.  The DES allows water systems to

monitor for some contaminants less than once per year because concentrations of the

contaminants do not change frequently.  Thus some data present, though representative, may be more than one year old.

| DETECTED WATER QUALITY RESULTS |
| --- |
| Inorganic Contaminants | Units | MCL | MCLG | Max Level Detected | Range | Violation Yes/No | Likely Source of Contaminant |
| Arsenic | ppb | 10 | 0 | 3 | ND - 3 | No | Erosion of natural deposits |
| Barium | ppm | 2 | 2 | 0.022 | 0.016-0.022 | No | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits |
| Nitrate (as Nitrogen) | ppm | 10 | 10 | 1.11 | ND - 1.11 | No | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits |
| Inorganic Contaminants | Units | MCL | MCLG | 90th Percentile | # of Sites Above AL | Violation Yes/No | Likely Source of Contaminant |
| Copper | ppm | AL=1.3 | 1.3 | 0.273 | 0 out of 30 sites | No | Corrosion of household plumbing systems |
|  |  |  |  | 2011 |  |  |  |
| Radioactive Contaminants | Units | MCL | MCLG | Average Amount | Range | Violation Yes/No | Likely Source of Contaminant |
| Compliance Gross Alpha | pCi/L | 15 | 0 | 0.2 | 0 - 0.6 2011 | No | Erosion of natural deposits |
| Uranium | ppb | 30 | NA | 2.9 | 2.9 one sample | No | Erosion of natural deposits |
| Combined Radium (226+228) | pCi/L | 5 | 0 | 0.7 | 0.4 - 1.2 2011 | No | Erosion of natural deposits |
| Volatile Organic Contaminants | Units | MCL | MCLG | Average Amount | Range | Violation Yes/No | Likely Source of Contaminant |
| Haloacetic Acids (HAA5s) | ppb | 60 | NA | 5.0 | 4.3 - 6.2 | No | By-product of chlorination |
| Total Trihalomethanes (TTHMs) | ppb | 80 | NA | 13.7 | 9.9 - 16 | No | By-product of chlorination |
| Disinfectant | Units | MRDL | MRDLG | Yearly Run- ning Ave. | Range | Violation Yes/No | Likely Source of Contaminant |
| Chlorine | ppm | 4 | 4 | 0.34 | 0.06 - 0.96 | No | Water additive used to control microbes |